## Sheet1
| SimMonitor | SimMon | D.A.R.T. Sim | ALSi | EKG Trainer
General
Price | + | ++ | ++ | ++++ | +
iPhone / iPod | Yes | Yes | Remote only | No | Yes
iPad | As iPhone app | Yes | Yes | Yes | Yes
Teacher / student mode | Yes | Yes | Upgrade | Yes | Yes
Connection | Bluetooth | Bluetooth | Bluetooth / WiFi | Bluetooth / WiFI | Bluetooth
Standalone mode | Yes | Yes | Yes | No | Yes
Device emulation | No | Yes | No | No | No
Alarm settings | No | No | Yes | Yes | No
Heart Rate
Adjustable HR | Yes | Yes | Yes | Yes | No
Multiple rhythms | Yes | Yes | Yes | Yes | Yes
Activate next rhythm | Yes | No | No | Yes | No
Defib into next rhythm | Yes | No | No | Yes | No
CPR artefact | Yes | No | No | Yes x 3 | No
Range | 30 - 190 | 0 - 329 | 0 - No Limit | 0 - 300 | N/A
Hide / show trace | Yes | Yes | No | Yes | No
HR drops with arrest rhythm | Yes | No | No | Yes | No
Rhythms
1st degree block | Yes | No | Yes | Yes | Yes
2nd degree block - Type 1 | Yes | No | Yes | Yes | No
2nd degree block - Type 2 | 2:1, 3:1 | No | Yes | Yes x 8 | No
AF | AF, digoxin effect, pre-excited | Yes | Yes | Normal, Fast, with BBB | Yes
Agonal | No | No | Yes | Yes | No
Agonal | No | No | No | Yes | No
Asystole | Yes | No | Yes | Normal, P wave asystole | Yes
Atrial flutter | 2:1 block, variable, pause | Yes | Yes | Yes, 2:1, 3:1, 4:1, Pause, Digoxin | No
Bigeminy | Yes | No | No | Yes | Yes
Complete heart block | Yes | No | No | Yes | Yes
Electrical alternans | Yes | No | No | Yes | No
Hyperkalaemia | Mild, Severe | No | No | Mild, Severe | No
Hypokalaemia | No | No | No | Yes | No
Hypothermia | No | No | No | Yes | No
Junctional | No | No | Yes | Yes | No
Junctional escape | Yes | Yes | Yes | Yes | No
LBBB | No | Yes | BBB | Yes | No
Lead disconnect | Yes | No | No | No | No
Long QT | Yes | No | No | Yes | No
Low Voltage | No | No | No | Yes | No
Multiple ventricular ectopics | Yes | No | No | Yes | No
Neonate | No | No | No | Yes | No
Pacemaker with capture | Yes | No | No | * Pacer Function | No
Pacemaker without capture | Yes | No | No | No | No
PACs | No | No | Yes | No | No
Pericarditis | No | No | No | Yes | No
PVCs | No | No | Yes | Yes x 9 | No
RBBB | No | Yes | BBB | Yes | No
Sinus | Yes | Yes | Normal, Brady, Tachy, Arrhythmia, Exit Block, Arrest | x 3 | Normal, Brady, Tachy
ST depression | Yes | No | No | Yes | No
ST elevation | Yes | Yes | Sinus, Sinus Tachy | Yes x 2 | Yes
SVT | Yes | Yes | Yes | Yes | Yes
Torsades de Pointes | Yes | No | Yes | Yes | No
VF | Yes | Yes | Yes | Coarse, Fine, Medium | Yes
VT | Yes | Yes | Yes | Yes x 3 | Yes
WPW | Yes | No | No | Yes | No
Young Child | No | No | No | Yes | No
Defibrillation
Simulated defib function | Yes | No | Yes | Yes | No
Selectable energies | No | N/A | Yes | Yes | N/A
Simulates charging | No | N/A | Yes | Yes | N/A
'Sound-alike' | No | N/A | Yes | Yes | N/A
Synchronised defib | No | N/A | Yes | Yes | N/A
Post-shock pause | Yes | N/A | Yes | Yes | N/A
Pacing
Simulated pacing function | No | No | Yes | Yes | No
Rate select | N/A | N/A | Yes | Yes | N/A
Current select | N/A | N/A | Yes | Yes | N/A
Pacer pause | N/A | N/A | Yes | Yes | N/A
Set capture level | N/A | N/A | No | Yes | N/A
Blood Pressure
Systolic range | 50 - 230 | 0 - 299 | 0 - No Limit | 0 - 301 | 60 - 220
Diastolic range | 35 - 140 | 0 - 215 | 0 - No Limit | 0 - 148 | 20 - 120
Adjustable pulse pressure | Yes | No | Yes | Yes | Yes
MAP display | Yes | No | No | Yes | Yes
'One off' display | Yes | Yes | No | Yes | Yes
NIBP simulation | No | No | Yes |  | No
IABP waveform | Yes | Yes | No | Yes | No
Multiple waveforms | No | Yes | N/A | Yes | N/A
BP drops when CPR activated | No | N/A | Yes | Yes | N/A
BP drops with arrest rhythm | Yes | No | Yes | Yes | No
BP waveform mirrors pulse | Yes | No | N/A | Yes | N/A
BP auto-restores with ROSC | No | No | No | Yes | N/A
IABP Waveforms
Normal | Yes | Yes | N/A | Yes | N/A
Poor perfusion | No | Yes | N/A | Yes | N/A
Overdamping | No | Yes | N/A | Yes | N/A
Underdamping | No | Yes | N/A | Yes | N/A
CPR | No | No | N/A | Yes | N/A
Saturations
Range | 30 - 100 | 51 - 100 | 0 - 100 | 0 - 100 | 55 - 100
Saturation waveform | Yes | Yes | Yes | Yes | No
Multiple waveforms | No | Yes | No | Yes | N/A
Tone modulation | Yes | Yes | No | Yes | No
Sats drop with arrest rhythm | Yes | No | Yes | Yes | No
Sats drop with hypotension | Yes | No | No | Yes | No
Sats restore with BP | Yes | N/A | No | Yes | N/A
Sats waveform mirrors pulse | Yes | Yes | No | Yes | N/A
Saturation Waveforms
Normal | Yes | Yes | Yes | Yes | N/A
Poor perfusion | No | Yes | No | Yes | N/A
Respirations
Range | 0 - 80 | 0 - 99 | 0 - No Limit | 0 - 150 | 0 - 45
Spontaneous waveform | Yes | No | No | No | No
Waveform lost with arrest rhythm | No | N/A | N/A | N/A | N/A
Capnography
EtCO2 | Yes | Yes | Yes | Yes | No
Range | 0 - 15 | 0 - 13.1 | 0 - No Limit | 0 - 99 | N/A
Multiple capnography waveforms | Yes | Yes | Yes | Yes | N/A
Capnography lost with arrest rhythm | Yes | No |  | Yes | N/A
CPR capnography trace | No | N/A |  | Yes | N/A
Units | kPa, mmHg | kPa, mmHg, % |  | kPa, mmHg | N/A
Waveforms
Acute loss of cardiac output | Yes | No | No | No | N/A
Apnoea | Yes | No | Yes | Yes | N/A
Breathing system disconnection | Yes | Yes (No reading) | No | No | N/A
Bronchospasm | No | Yes, Severe | Mild, Moderate, Severe | No | N/A
Cardiogenic oscillation | No | No | Yes | No | N/A
Decreasing EtCO2 | No | No | Yes | No | N/A
Faulty ventilator exhalation | No | No | Yes | No | N/A
Hyperventilation | No | No | Yes (Inc RR) | No | N/A
Hypoventilation | No | No | Yes (Dec RR) | No | N/A
Inadequate paralysis | Yes | Yes | Yes | Yes x 3 | N/A
Increasing EtCO2 | No | No | Yes | No | N/A
Leaky tube | No | Yes | Yes | No | N/A
Malignant hyperpyrexia | Yes | No | No | No | N/A
Normal breathing | Yes | Yes | Yes | Yes | N/A
Obstruction | No | No | Yes | No | N/A
Obstruction in breathing circuit | No | No | Yes | No | N/A
Obstructive disease | Yes | No | No | Yes x 2 | N/A
Oesophageal intubation | No | No | Yes | No | N/A
Rebreathing | Yes | No | Yes | Yes | N/A
Other Measurements
Temperature | Yes | No | Yes | Yes | No
Temp range | 24 - 43 | N/A | 0 - No Limit | 15.0 - 45.0 | N/A
Temp units | C, F | N/A | None Displayed | C, F | N/A
BM | Yes | No | No | Yes | No
BM range | 0 - 35 | N/A | N/A | 0 - 50.0 | N/A
GCS | Yes | No | No | Yes | No
GCS range | 3 - 15 | N/A | N/A | 3 - 15 | N/A
ABG | Yes | No | No | No | No
Biochemistry | Yes | No | No | No | No
Biochemistry units | Urea, BUN | N/A | N/A | N/A | N/A
Haematology | Yes | No | No | No | No
Haematology units | g/L, g/dL | N/A | N/A | N/A | N/A
12-lead ECG | Upgrade | No | Upgrade | No | No
X-ray | Upgrade | No | Upgrade | No | No
CT | Upgrade | No | No | No | No
USS | Upgrade | No | No | No | No
Timer | No | Yes | No | Yes | No
Sound Effects
Sound effects | Yes | No | No | Yes | No
Scenarios
Scenario function | No | No | Via remote app | Yes | No
Built-in scenarios | N/A | N/A | Yes | Yes | N/A
Custom-defined scenarios | N/A | N/A | Yes? | Yes | N/A
Manual advance | N/A | N/A | Yes | Yes | N/A
Defib advance | N/A | N/A | No | Yes | N/A